PLAN CHECK LIST

Submittal: _________________________________________________

Scale of plans should be 1” = 40 feet or greater unless specified otherwise.

Each single lot plan must show the following:

- outline or "footprint" of the foundation of any proposed house or other structure

using a foundation

- all proposed and existing driveways and parking lots

- the location and type of all proposed utilities

- the limit of each wetland

- the wetland line flag numbers

- areas subject to flooding

- riverfront area

- every other resource area defined by Article 18, Act, DEP wetlands regulations, or

regulations under Article 18

- topographic contours in at least five-foot intervals

- the limit of the 100-foot buffer zone described by the Act and DEP wetland

regulations

- the 10/35 foot buffer zone required by Article 18

- the limit of proposed work activity and ground disturbance

- the location and type of proposed sedimentation controls

- the limit of any proposed lawn or other landscaping

- the limit of the Watershed and Aquifer Protection Districts, if applicable

- the limit of the FEMA floodplain or the 100-year floodplain, if applicable

- large boulders and outcroppings of ledge

all existing and proposed structures, features, and outbuildings, including barns,

sheds, stables, and paddocks

- porches, decks, and patios

- drainage systems, including sumps, French drains, and dry wells

- any other outdoor amenities, including without limitation, gardens, sprinkler

systems, pools, whirlpools, Jacuzzi, sport courts, basketball, and tennis courts

any other proposed structure, feature, and amenity the construction or operation of

which could affect the interests of the Bylaw, Act. DEP wetland regulations, or these

Bylaw regulations.

- The distance between the proposed limit of work line and the nearest part of the

resource area.

- The distance between the foundation and the nearest part of the resource area.

- The distance between the proposed lawn and or other landscaping and nearest

part of each resource area.

- The inner/outer riparian zones identified in the Rivers Protection Act.